## Company Profile
CASCADE HEALTH & ENERGY SYSTEMS - COMPANY PROFILE
Section: Org Overview
Company Name | Cascade Health & Energy Systems
Industry | Healthcare / Critical Infrastructure (OT)
Employees | 2400
Locations | 3 hospital campuses, 1 data center
EHR System | Epic (Willow, Beacon, ASAP modules)
OT Environment | BAS, Medical Gas SCADA, Power Management
Regulatory Scope | HIPAA, ISO 27001, NIST 800-82, IEC 62443
PHI Data Volume | ~1.2 million patient records
IT/OT Network Status | Partially segmented - shared vendor remote access
Last Security Audit | 18 months ago (findings unresolved)
Section: Asset Inventory
Asset Category | Asset Name | Environment | Data Sensitivity
Server | Epic EHR Database | IT | High PHI
Workstation | Nurse Station Laptops | IT | Medium
Network | Core Hospital Switch | IT | High
OT Device | HVAC Control PLC | OT | High-Safety Critical
OT Device | Medical Gas Monitoring System | OT | High-Safety Critical
OT Device | Power Management RTU | OT | High-Safety Critical
Network | IT/OT Shared Firewall | IT/OT | Critical
Vendor Access | Remote Support VPN(shared) | IT/OT | Critical

## Vendor Assessment
CASCADE HEALTH & ENERGY SYSTEMS - Vendor Assessment
Section: Vendor Risk Assessment Log
Section: Vendor Log
Vendor ID | Vendor Name | Service Provided | Data Access | Assessment Date | Risk Score | Risk Level | Status
V-001 | Epic Systems | EHR Platform | PHI-High | 2025-01-15 | 18 | High | Active
V-002 | Meditech | Legacy System Migration | PHI-Medium | 2025-02-10 | 12 | Medium | Under Review
V-003 | Siemens Healthineers | HVAC SCADA Integration | OT-Critical | 2025-03-05 | 20 | Critical | Active
V-004 | Microsoft Azure | Cloud Infrastructure | IT-High | 2025-03-20 | 10 | Medium | Active
V-005 | Philips Healthcare | Medical Device Integration | OT-High | 2025-04-01 | 16 | High | Active
V-006 | Change Healthcare | Claims Processing | PHI-Critical | 2025-04-15 | 22 | Critical | Suspended

## Control Matrix IT
CASCADE HEALTH & ENERGY SYSTEMS - Control
Section: HIPAA + ISO 27001 Control Assessment
Section: IT Controls
Control ID | Framework | Control Name | Requirement Type | Status | Gap Identified | Remediation Action
HIPAA-001 | HIPAA | Access Control - Unique User IDs | Required | Implemented | No | N/A
HIPAA-002 | HIPAA | Automatic Logoff | Addressable | Partially Implemented | Yes | Configure 15- min timeout on all EHR workstations
HIPAA-003 | HIPAA | Encryption of PHI at Rest | Addressable | Implemented | No | N/A
HIPAA-004 | HIPAA | Audit Controls - Activity Logging | Required | Partially Implemented | Yes | Enable full audit logging in Epic for all PHI access
HIPAA-005 | HIPAA | Workforce Security Training | Required | Not Implemented | Yes | Deploy annual security awareness training program
ISO-001 | ISO 27001 | Information Security Policies | Annex A.5 | Implemented | No | N/A
ISO-002 | ISO 27001 | Access Control Policy | Annex A.9 | Partially Implemented | Yes | Review and update access control policy annually
ISO-003 | ISO 27001 | Cryptography Policy | Annex A.10 | Implemented | No | N/A
ISO-004 | ISO 27001 | Supplier Relationships | Annex A.15 | Partially Implemented | Yes | Implement vendor security review process
ISO-005 | ISO 27001 | Incident Management | Annex A.16 | Not Implemented | Yes | Develop and test incident response plan

## Control Matrix OT
CASCADE HEALTH & ENERGY SYSTEMS - Control Maxtrix OT
Section: NIST 800-82 + IEC 62443 Control Assessment
Section: OT Controls
Control ID | Framework | Control Name | Security Level | Status | Gap Identified | Remediation Action
NIST-OT-001 | NIST 800-82 | OT Network Segmentation | High | Partially Implemented | Yes | Implement dedicated OT network zone seperated from IT
NIST-OT-002 | NIST 800-82 | Remote Access Controls for OT | High | Not Implemented | Yes | Deploy jump server with MFA for all OT remote access
NIST-OT-003 | NIST 800-82 | OT Asset Inventory | Medium | Partially Implemented | Yes | Complete full inventory of all PLCs and RTUs
NIST-OT-004 | NIST 800-82 | Patch Management for OT Devices | High | Not Implemented | Yes | Establish quarterly OT firmware patch cycle
NIST-OT-005 | NIST 800-82 | Physical Access to Control Systems | High | Implemented | No | N/A
IEC-001 | IEC 62443 | Security Management System | SL-2 | Partially Implemented | Yes | Develop OT-specific security policies and procedures
IEC-002 | IEC 62443 | Access Control for Control Systems | SL-2 | Not Implemented | Yes | Implement role-based access control on all OT systems
IEC-003 | IEC 62443 | OT Incident Response | SL-2 | Not Implemented | Yes | Develop OT-specific incident response procedures
IEC-004 | IEC 62443 | Supply Chain Risk for OT Vendors | SL-3 | Partially Implemented | Yes | Strengthen vendor security requirements for OT supplies
IEC-005 | IEC 62443 | OT System Backup and Recovery | SL-2 | Implemented | No | N/A

## Risk Register
CASCADE HEALTH & ENERGY SYSTEMS - Risk Register
Section: Enterprise Risk Register - IT + OT Environment
Section: Risk Register
Risk ID | Risk Description | Environment | Likelihood (-15) | Impact (1-5) | Risk Score | Risk Level | Owner | Mitigation Action
R-001 | Ransomeware spreads from IT into OT/SCADA systems | IT/OT | 4 | 5 | 20 | Critical | CISO | Network segmentation; EDR on all IT endpoints
R-002 | Unauthorized vendor remote access to medical gas SCADA | OT | 3 | 5 | 15 | High | OT Security Manager | Implement jump server with MFA for all OT vendor access
R-003 | Unencrypted PHI transmitted between compuses | IT | 3 | 4 | 12 | High | Network Team | Enforce TLS 1.2 + on all inter-campus data transfers
R-004 | HVAC PLC firmware unpatched - known vulnerability | OT | 4 | 3 | 12 | High | Facilities IT | Emergency patch cycle for all OT firmware
R-005 | Shared IT/OT firewall misconfiguration | IT/OT | 2 | 5 | 10 | Medium | Network Team | Firewall rule; audit separate IT and OT firewall instances
R-006 | Workforce lacks security awareness traingin | IT | 4 | 3 | 12 | High | HR/Security | Deploy mandatory annual security awareness training
R-007 | Change Healthcare vendor breach exposes claims data | IT | 3 | 5 | 15 | High | Vendor Risk Team | Suspend access; conduct full vendor reassessment
R-008 | No OT-specific incident response plan exists | OT | 3 | 4 | 12 | High | CISO | Develop and test OT incident response procedures

## Policy Exception Log
CASCADE HEALTH & ENERGY SYSTEMS - Policy Exception log
Section: Documented Policy Exceptions and Risk Acceptances
Section: Exception Log
Exception ID | Policy/Control Violated | System or Vendor | Business Justification | Risk Level | Approved By | Approval Date | Expiry Date | Status
EX-001 | Automatic Logoff HIPAA-002 | Legacy Radiology Workstations | Workstations run 24/7 automated imaging workflows- logoff disrupts operations | Medium | CISO | 2025-01-10 | 2026-01-10 | Active
EX-002 | OT Remote Access Controls-NIST-OT-002 | Siemens Healthineers | Vendor requires direct OT access for emergency maintenance - jump server not yet deployed | Critical | CIO | 2025-02-15 | 2025-08-15 | Expired
EX-003 | Patch Management OT-NIST-OT-004 | HVAC Control PLC | Vendor patch requires full system shutdown-scheduled for next maintenance window | High | OT Security Manager | 2025-03-01 | 2025-06-01 | Expired
EX-004 | Workforce Security Training HIPAA-005 | Contract Staff | Contract workforce onboarding delayed training deployment | Medium | HR Director | 2025-04-01 | 2025-10-01 | Active
EX-005 | Supplier Security Review ISO-004 | Change Healthcare | Vendor assessment suspended pending breach investigation | Critical | CISO | 2025-04-15 | 2025-07-15 | Active

## Remediation Roadmap
CASCADE HEALTH & ENERGY SYSTEMS - Remediation
Section: Gap Remediation Action Plan - IT + OT Environment
Section: Remediation Actions
Action ID | Source | Gap Description | Priority | Owner | Start Date | Target Date | Status
RM-001 | R-001/NIST-OT-001 | Implement network segmentation between IT and OT environments | Critical | CISO | 2025-01-01 | 2025-03-31 | In Progress
RM-002 | R-002/NIST-OT-002 | Deploy jump server with MFA for all OT vendor remote access | Critical | OT Security Manager | 2025-01-15 | 2025-04-30 | In Progress
RM-003 | HIPAA- 004 | Enable full audit logging in Epic for all PHI access events | High | Network Team | 2025-02-01 | 2025-03-15 | Complete
RM-004 | NIST-OT-004 | Establish quarterly OT firmware patch cycle for all PLCs and RTUs | High | Facilities IT | 2025-02-15 | 2025-05-31 | In Progress
RM-005 | HIPAA-005 | Deploy mandatory annual security awareness training for all staff | High | HR/Security | 2025-03-01 | 2025-06-30 | Not Started
RM-006 | ISO-005/R-008 | Develop and test OT-specific incident response procedures | High | CISO | 2025-03-15 | 2025-07-31 | Not Started
RM-007 | ISO-002 | Review and update access control policy-annual review cycle | Medium | Network Team | 2025-04-01 | 2025-06-30 | Not Started
RM-008 | ISO-004/R-007 | Implement vendor security review process for all third parties | Medium | Vendor Risk Team | 2025-04-15 | 2025-08-31 | Not Started