Cascade Health & Energy Systems

GRC Compliance Program – Executive Summary

June 2026

Purpose of This Document

This document presents the findings of a comprehensive GRC compliance assessment conducted for Cascade Health & Energy Systems, a regional health system operating both an enterprise IT environment and an operational technology (OT)/SCADA infrastructure across three hospital campuses. The assessment evaluated the organization’s security posture against HIPAA, ISO 27001, NIST SP 800-82, and IEC 62443 frameworks, identifying control gaps, vendor risks, and remediation priorities.

Scope of Assessment

The assessment covered the following domains:

- Enterprise IT systems including Epic EHR (Willow, Beacon, ASAP modules) and supporting network infrastructure

- Operational Technology environment including HVAC Building Automation System, Medical Gas SCADA, and Power Management RTU

- Six third-party vendors assessed for security posture and data access risk

- Twenty IT and OT security controls mapped across four compliance frameworks

- Eight identified enterprise risks scored by likelihood and impact

Key Findings

The assessment identified the following critical findings:

- One Critical risk identified -ransomware propagation from IT into OT/SCADA systems, scored 20 out of 25

- Two vendors assessed as Critical risk -Siemens Healthineers (OT remote access) and Change Healthcare (PHI breach exposure)

- Seven of ten OT controls are either Partially Implemented or Not Implemented, representing significant gaps in the SCADA security posture

- Five policy exceptions are currently active or expired, including two Critical exceptions requiring immediate remediation

- Workforce security awareness training is not implemented across the organization despite being a required HIPAA control

Remediation Priorities

The following actions have been identified as immediate priorities:

- Implement network segmentation between IT and OT environments to prevent ransomware propagation – Critical priority

- Deploy jump server with multi-factor authentication for all OT vendor remote access - Critical priority

- Conduct full vendor reassessment of Change Healthcare following breach exposure – High priority

- Establish quarterly OT firmware patch cycle for all PLCs and RTUs – High priority

- Deploy mandatory annual security awareness training for all staff – High priority

Frameworks Referenced

This assessment was conducted in alignment with the following industry standards and regulatory frameworks:

- HIPAA Security Rule – Administrative, Physical, and Technical Safeguards

- ISO 27001:2022 – Annex A Information Security Controls

- NIST SP 800-82 – Guide to Industrial Control Systems Security

- IEC 62443 – Industrial Automation and Control Systems Security